

**Department of Procurement Services**

12479 Research Parkway, Suite 600

Orlando, FL 32826-0050

ADDENDUM

IMPORTANT DOCUMENT – INVITATION TO BID

ITB NUMBER: 2021-15TC OPENING DATE & TIME: March 9, 2022 @ 3:00 p.m.

ITB TITLE: Atomic Force Microscope System

ADDENDUM NUMBER: I ADDENDUM DATE: February 18, 2022

**Purpose of this addendum is to correct the below required specification listed in the Bid Sheet (page 13) of the ITN.**

“The z-scan range of the system must be at least 80 micrometers with no loss to resolution.”

Should be:

“The **xy**-scan range of the system must be at least 80 micrometers with no loss to resolution.”

PLEASE ACKNOWLEDGE RECEIPT OF THIS ADDENDUM AND RETURN IT WITH YOUR BID. FAILURE TO SIGN AND RETURN WITH YOUR BID COULD RESULT IN REJECTION OF YOUR BID.

PROPOSERS SIGNATURE PRINT OR TYPE PROPOSER’S NAME

COMPANY NAME EMAIL ADDRESS